# SECTION 07 31 00

# SYNTHETIC ROOF SHINGLES AND SHAKES

SPECIFIER NOTE: This Master Guide Specification is for use by design professionals. To view or hide these notes, click the ‘Show/Hide ¶’ button on the ‘Home’ tab or press Ctrl+Shift+8). Select appropriate options in [brackets], modify or delete unused text, and ensure all Specifier Notes are hidden prior to Final Issuance.

SPECIFIER NOTE: This 3-Part-Specification is based on products produced by FWave LLC located at 921 S. Burleson Blvd., Burleson, TX 76028 Burleson Blvd., Burleson, TX 76028. Phone: 888-GO-FWAVE | 888-463-9283. Website: http://www.fwaveroofing.com.

# PART 1 GENERAL

## 1.1	SECTION INCLUDES

SPECIFIER NOTE: Select one bracketed product profile. Delete the other.

### Composite Roofing Products:

- Synthetic [Slate] [Shake] Shingles.

- Synthetic Starter Shingles.

- Synthetic Hip and Ridge Shingles.

SPECIFIER NOTE: Select bracketed roof assembly components included in this Section. Delete all others.

### Roof Assembly Components:

- Underlayments.

- Fasteners.

- Approved Sealant or Adhesive.

- Flashings.

- [Attic Ventilation.]

- [Snow Guards.]

- [Accessories.]

## 1.2	RELATED SECTIONS

SPECIFIER NOTE: Add or delete related Sections as required.

### Section 04 20 00 – Unit Masonry: Coordinate with masonry counterflashing.

### Section 06 10 00 – Rough Carpentry: Roof decking requirements and preparation.

### Section 06 20 00 – Finish Carpentry: Installation of fascia, rake boards and trim.

### Section 07 22 00 – Insulation: Radiant barriers and insulation.

### Section 07 46 00 – Siding: Coordination with siding and wall-to-roof flashing.

### Section 07 60 00 – Flashing and Sheet Metal: Fabricated metal, eaves drip edges, rake drip edges, step flashing, valley metal, apron flashings, chimney flashings, crickets and saddle flashings.

### Section 07 71 00 – Roof Specialties: Gutters and downspouts.

### Section 07 72 00 – Roof Accessories: Mechanical ventilators and other accessories.

### Section 08 60 00 – Roof Windows and Skylights: Skylight integration and flashing.

### Section 22 13 00 – Sanitary Sewerage: Vent pipe penetrations.

### Section 26 00 00 – Electrical: Conduit penetrations and lightning protection systems.

### Section 48 14 00 – Solar Energy Electrical Power Generation System: Solar panel brackets and system integration.

## 1.3	REFERENCES

SPECIFIER NOTE: Add or delete references related to this Section.

### Codes and standards referenced shall be the latest editions or as referenced by the Authority Having Jurisdiction (AHJs).

### Building Codes:

- International Building Code (IBC).

- International Residential Code (IRC).

- National Building Code of Canada (NBC).

### National Evaluation Reports:

- ICC Evaluation Service (ICC-ES) directory.

- Intertek Code Compliance Research Report (CCRR) directory.

- IAPMO Uniform Evaluation Service (UES) directory.

- Underwriters Laboratories (UL) directory.

### Regional Evaluation Reports:

- Florida Product Approval (FPA) directory.

SPECIFER NOTE: Miami-Dade County Notice of Acceptance is currently pending evaluation.

- Miami-Dade County Notice of Acceptance (NOA) directory.

SPECIFIER NOTE: Texas Department of Insurance (TDI) evaluation is currently unavailable. For projects in First-Tier Coastal Counties or Harris County catastrophe areas, contact F-Wave LLC for third party test data verifiable by the Texas Windstorm Insurance Association (TWIA) for eligibility to windstorm insurance and applicable premium credits.

- Texas Department of Insurance (TDI) Evaluation directory.

### Florida Product Approval Standards (FPA/HVHZ):

- TAS 100: Standard Test Method for Wind and Wind Driven Rain Resistance of Discontinuous Roof Systems.

SPECIFIER NOTE: TAS 107, TAS 110 and TAS 125 are currently pending evaluation.

- TAS 107: Test Procedure for Wind Resistance Testing of Non-Rigid, Discontinuous Roof System Assemblies.

- TAS 110: Testing Requirements for Physical Properties of Roof Membranes, Insulation, Coatings and Other Roofing Components.

- TAS 125: Standard Requirements for Wind Uplift Resistance

### Insurance Institute for Business and Home Safety (IBHS):D™:

- FORTIFIED HomeTM Standard.

- FORTIFIEDTM Professional directory.

- FORTIFIEDTM Property Lookup directory.

### Acceptance Criteria:

- ICC-ES AC513: Acceptance Criteria for Alternative Strip Shingle Steep-slope Roof Coverings.

### Fire Resistance:

- ASTM E108: Standard Test Methods for Fire Tests of Roof Coverings.

- UL 790: Standard Test Methods for Fire Tests or Roof Coverings.

SPECIFIER NOTE: CAN/ULC S107 is not currently available.

- CAN/ULC S107: Standard Methods of Fire Tests of Roof Coverings.

### Impact Resistance:

SPECIFIER NOTE: REVIA® XTMTM shingles are rated for Very Severe Hail (VSH) under FM 4475. This test exceeds the kinetic energy requirements of FM 4473 Class 4 by a factor of 2 (~53-58 ft-lb vs ~24-26 ft-lb.)

- UL 2218: Standard for Impact Resistance of Prepared Roof Covering Materials.

- FM 4473: Test Standard for Impact Resistance Testing of Rigid Roofing Materials by Impacting with Freezer Ice Balls.

- FM 4475: Examination Standard for Class 1 Steep Slope Roof Covers.

### Wind Resistance:

SPECIFIER NOTE: ASTM D7158 is not applicable to REVIA® XTMTM shingles. Unlike asphalt shingles that rely on a thermal sealant strip for uplift resistance, the front edge of REVIA® XTMTM shingles includes a continuous Front Edge Lock that secures the shingle directly to the course below.

- ASTM D3161: Standard Test Method for Wind Resistance of Steep Slope Roofing Products (Fan-Induced Method).

### Physical Test Standards:

- ASTM B117: Standard Practice for Operating Salt Spray (Fog) Apparatus.

- ASTM D412: Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers.

- ASTM D638: Standard Test Method for Tensile Properties of Plastic.

- ASTM D1204: Standard Test Method for Linear Dimensional Changes of Nonrigid Thermoplastic Sheeting or Film at Elevated Temperature.

- ASTM G155: Standard Practice for Operating Xenon Arc Light Apparatus for Exposure of Non-metallic Materials.

- ASTM G154: Standard Practice for Operating Fluorescent Light Apparatus for UV Exposure of Non-metallic Materials.

### Underlayments:

- ASTM D1970: Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

- ASTM D8257: Standard Specification for Polymeric Roof Underlayment Used as Steep Slope Roofing Underlayment.

SPECIFIER NOTE: The following underlayment standards are not currently required.

- ASTM D226: Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

- ASTM D4869: Standard Specification for Asphalt-Saturated Organic Felt Underlayment Used in Steep Slope Roofing.

- ASTM D6757: Standard Specification for Underlayment for Use with Steep Slope Roofing.

### Fasteners:

- ASTM A153: Standard Specification for Zinc Coating (Hot Dip) on Iron and Steel Hardware.

- ASTM A641: Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

### Industry Standards and Best Practice:

- Asphalt Roofing Manufacturers Association (ARMA).

- The NRCA Roofing Manual: Steep-slope Roof Systems.

- American Wood Council (AWC): National Design Specification (NDS) for Wood Construction

SPECIFIER NOTE: Currently pending evaluation.

### Florida (HVHZ) High Velocity Hurricane Zone:

- TAS 107: Test Procedure for Wind Resistance Testing of Non-Rigid, Discontinuous Roof System Assemblies.

- TAS 110: Testing Requirements for Physical Properties of Roof Membranes, Insulation, Coatings and Other Roofing Components.

## 1.4	SUBMITTALS

SPECIFIER NOTE: Add or delete submittal requirements related to this Section.

### General Requirements:

- Submit under provisions of Section 01 33 00 – Submittal Procedures.

### Product Data:

SPECIFIER NOTE: Retain bracketed requirement if the project is seeking IBHS FORTIFIED HomeTM designation.

- For products specified in this Section submit:

- All current and relevant published technical data sheets including installation instructions. Verify the versions match the most recent revisions published on the manufacturers’ websites.

- All current storage and handling instructions for products specified.

- [An up-to-date copy of the FORTIFIED HomeTM Standard.]

### Sample Submittals:

- Shingles:

- One (1) full sample board showing the range of colors and profiles available.

- One (1) full sized field shingle of the specified profile and color.

- Underlayments:

- One (1), 12” by 12”’ (300mm by 300mm) sample of synthetic underlayment specified.

- One (1), 12” by 12” (300mm by 300mm) sample of waterproofing underlayment specified.

- Fasteners and Sealant Samples:

- Five (5) fasteners of each fastener type specified, including for starter/field shingles, hip and ridge shingles and flashings.

- One (1) cartridge of sealant or adhesive approved by the roofing manufacturer.

- Flashings and Accessory Samples:

SPECIFIER NOTE: Delete ridge vent and snow guard requirements if not related to this Section.

- One (1), 4” by 4” (100mm by 100mm) sample of the flashing materials specified.

- One (1), 12” (300mm) sample length of the eaves drip edge.

- One (1), 12” (300mm) sample length of the rake drip edge.

- [One (1),12” (300mm) sample of the shingle-over ridge vent specified.]

- [One (1) snow guard specified.]

### Regulatory Submittals:

- All current National Evaluation Reports for all products specified, as currently listed on the websites of ANSI accredited third-party evaluators.

- All current state issued Regional Evaluation Reports relevant to the project as listed on the website of the Authority Having Jurisdiction (AHJ).

### Installer Qualifications:

- Submit a brief company history or letter documenting at least three (3) years of experience specializing in the installation of shingle roofing systems.

- Submit a list of at least two (2) projects of a similar scope completed within the last three years, including project name, location, and date of completion.

- Submit a list of two (2) projects where the specified shingles were installed, or a signed letter of approval from the roofing manufacturer for this specific project.

- [FORTIFIED™ Certification: Submit proof of current FORTIFIED WiseTM Roofing Contractor status and the name of the Certified FORTIFIED™ Evaluator assigned to the project. Proof must be verifiable via the IBHS FORTIFIED™ Professional Directory.]

### Shop Drawings:

- Provide drawings indicating shingle layout and pattern, method of attachment, layout of underlayments, profiles of rake and eaves drip edge, flashing colors, details of custom flashings.

### Warranty:

- Provide a sample copy of the roofing manufacturer’s warranty for approval, include signed indication of which maximum wind speed provision will be provided.

### Closeout Submittals:

SPECIFIER: NOTE: Retain bracketed requirement if the project is seeking an IBHS FORTIFIED HomeTM designation. This certificate is required for the owner to apply for insurance premium credits.

- A final signed warranty in the Owner’s name to be provided at the Project Closeout.

- [A the official, site specific FORTIFIED™ Designation Certificate issued by IBHS at Project Closeout. The designation shall be verifiable via the IBHS FORTIFIED™ Property Lookup registry.]

## 1.5	MAINTENANCE MATERIAL SUBMITTALS

SPECIFIER NOTE: Delete if not required. This ensures the Owner has matching material for future repairs.

### Extra Material: Provide [one (1) unopened bundle] of shingles of each color and profile specified.

### Label with project identification.

### Deliver to Owner and store at the project site as directed.

## 1.6	QUALITY ASSURANCE

SPECIFIER NOTE: Add or delete quality assurance requirements related to this Section. If an IBHS FORTIFIED HomeTM designation is required, contractor must be FORTIFIED WiseTM certified; otherwise, delete this requirement.

### Manufacturer Qualifications:

- Company specializing in the manufacture of products specified in this Section.

- At least five (5) years documented experience producing products in the same product category.

### Installer Qualifications:

- Company specializing in installing shingle roofing systems with at least three (3) years of experience.

- Contractor shall have successfully completed at least two (2) projects of a similar scope completed in the last three years.

- Contractor shall have successfully completed at least two (2) projects using the shingles specified, or be approved by the roofing manufacturer for the specific project.

- [Contractor is a certified FORTIFIED WiseTM roofing contractor and shall coordinate all required photo documentation with a Certified FORTIFIEDTM Evaluator.]

SPECIFIER NOTE: Specify mock-up dimensions. A mock-up is recommended to verify the installer’s ability to establish and manage shingle patterns.

### Mock-up:

- Construct a [10’ by 10’ (3m by 3m)] mock-up using specified materials and staggered pattern for review by the Architect.

- Rework mock-up as required until approved by the Architect. Use mock-up as the standard for visual and technical quality for the entire project.

- [Approved mock-up may remain as part of the finished Work.]

- [Approved mock-up may not remain as part of the finished Work.]

## 1.7	PRE INSTALLATION CONFERENCE

SPECIFIER NOTE: Add or delete requirements as required. Pre-installation meeting is mandatory to verify installer understanding of product features, including the continuous mechanical locking system, and fastener requirements for the wind warranty.

### Hold a meeting at the job site a minimum of two (2) weeks prior to the start of Work on this Section attended by direct stakeholders in the roofing installation including the roofing foreman, general Contractor, [FORTIFIED™ Evaluator,] and Architect.

### Review site specific safety protocols including fall protection requirements.

### Review installation methods including review of manufacturer’s instructions, particularly fastener type and length, rake and eave drip edge, roofing patterns, adhesives, and front edge engagement.

### Availability of materials specified in this Section verifying they match the submittals required for the specified wind warranty.

### Coordination with Related Sections.

### Review and approval of the project mock-up.

### Identify and review any other factors critical to the success of this Work.

## 1.8	DELIVERY, STORAGE AND HANDLING

### Delivery: Deliver materials to the project site in manufacturers’ unopened bundles or other packaging adequate for protecting the products.

### Labelling: Product must be clearly marked with all product identification and compliance details required by National and Regional Evaluation Reports, National and Regional Building codes, or other jurisdictions having authority (AHJs).

### Storage: Store products on a flat level surface in a dry ventilated area to prevent moisture accumulation within the packaging and permanent warping. Do not double stack pallets.

## 1.9	PROJECT CONDITIONS

SPECIFIER NOTE: Add or delete conditions as required.

### Install products, including sealants, within the manufacturers’ range of acceptable environmental conditions.

### Do not install materials during inclement weather including rain, snow or over a wet or frozen roof deck, or extremes of temperature.

### Do not install roofing shingles during extremes of temperature.

## 1.10	WARRANTY

SPECIFIER NOTE: Select one bracketed option from those listed B through G. Select based on project context and desired wind warranty (130mph, 180mph, or unlimited). Delete all others.

### Manufacturer’s Warranty: Provide all manufacturers’ standard product warranties.

### [Roofing: Provide standard limited warranty for roof systems installed on single-family detached homes owned by individual(s) including:

- Fifty (50) year limited warranty against manufacturing defects that cause leaks.

- Five (5) year performance coverage for up to 2” (50.8mm) hail.

- Fifteen (15) year performance coverage for maximum wind speeds of up to 130 miles per hour when the fasteners used are 11- or 12-gauge smooth shank nails that are at least 1 1/4” in length.]

### [Roofing: Provide standard limited warranty for roof systems installed on single-family detached homes owned by individual(s) including:

- Fifty (50) year limited warranty against manufacturing defects that cause leaks.

- Five (5) year performance coverage for up to 2” (50.8mm) hail.

- Fifteen (15) year performance coverage for maximum wind speeds of up to 180 miles per hour when the fasteners used are 11- or 12-gauge ring shank nails that are at least 1 1/2” in length.]

### [Roofing: Provide standard limited warranty for roof systems installed on single-family detached homes owned by individual(s) including:

- Fifty (50) year limited warranty against manufacturing defects that cause leaks.

- Five (5) year performance coverage for up to 2” (50.8mm) hail.

- Fifteen (15) year performance coverage for unlimited maximum wind speeds when the fasteners used are at least No. 8 raised head (non-countersunk) screws that are at least 1 1/2” in length.]

### [Roofing: Provide standard limited warranty for roof systems installed on structures other than single-family detached homes owned by individual(s), (e.g. commercial or multi-family) including:

- Forty (40) year limited warranty against manufacturing defects that cause leaks.

- Ten (10) year performance coverage for maximum wind speeds of up to 130 miles per hour when the fasteners used are 11- or 12-gauge smooth shank nails that are at least 1 1/4” in length.]

### [Roofing: Provide standard limited warranty for roof systems installed on structures other than single-family detached homes owned by individual(s), (e.g. commercial or multi-family) including:

- Forty (40) year limited warranty against manufacturing defects that cause leaks.

- Ten (10) year performance coverage for maximum wind speeds of up to 180 miles per hour when the fasteners used are 11- or 12-gauge ring shank nails that are at least 1 1/2” in length.]

### [Roofing: Provide standard limited warranty for roof systems installed on structures other than single-family detached homes owned by individual(s), (e.g. commercial or multi-family) including:

- Forty (40) year limited warranty against manufacturing defects that cause leaks.

- Ten (10) year performance coverage for unlimited maximum wind speeds when the fasteners used are at least No. 8 raised head (non-countersunk) screws that are at least 1 1/2” in length.]

### Refer to the manufacturer’s warranty for complete provisions, including limitations and prerequisites.

### Installer’s Warranty: The roofing Contractor will provide a separate two (2) year system warranty against water penetration beginning at the date of Substantial Completion of the project.

# PART 2 PRODUCTS

## 2.1	MANUFACTURERS

SPECIFIER NOTE: Delete bracketed options as required. Option B is recommended. When considering substitutions, look for options that have equivalent Very Severe Hail resistance, 180 mph+ wind warranties, and self-healing properties. Traditional asphalt shingles and composites do not offer identical performance.

### Acceptable manufacturer: FWave LLC. 921 S. Burleson Blvd., Burleson, TX 76028. Phone: 888-GO-FWAVE | 888-463-9283. Website: www.fwaveroofing.com.

### [Substitution not permitted.]

### [Requests for substitution will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.]

## 2.2	PERFORMANCE REQUIREMENTS

SPECIFIER NOTE: Add or delete bracketed options as required. Note that AC513 Alternative Strip Shingle Steep-slope Roof Coverings does not permit installations on roof slopes below 3:12.

### Roof System:

- Provide a comprehensive synthetic roof system attached securely to solid sheathing; minimum slope 3:12.

- A slate or shake like appearance.

- A weathertight building envelope, preventing water infiltration into the structure.

### Fire Resistance:

- [Provide a Class A fire rated roof system according to ASTM E108 by installing roofing over one layer of GAF Tiger Paw or equivalent underlayment qualifying the system for a Class A rating as specified in the current National Evaluation Report (CR-0607).]

SPECIFIER NOTE: Further underlayment options for ASTM E108 Class A and Class B fire ratings are pending, along with options for CAN/ULC-S107 fire ratings.

- [Provide a Class B fire rated roof system according to ASTM E108 by installing over one layer of synthetic underlayment that complies with ASTM D226, Type I or Type II; ASTM D4869, Type I, Type II, Type III, or Type IV; ASTM D6757 or ASTM D8257 as specified in the current National Evaluation Report (CR-0607).]

- [Provide a Class A fire rated roof system according to CAN/ULC-S107 by installing over underlayment as specified in the current National Evaluation Report (CR-0607).]

### Wind Resistance

- Provide a Class F wind rated roof system in accordance with ASTM D3161 by installing as specified in the current National Evaluation Report (CR-0607).

- [Qualify for the manufacturer’s 130 mph maximum wind speed warranty. Install six (6), 11- or 12-gauge, 1-1/4-in. smooth shank nails per shingle, that have sufficient length to penetrate the roof deck by at least 3/4" (19mm) or fully penetrate sheathing where the sheathing is less than 3/4" (19mm) thick.]

- [Qualify for the manufacturer’s 180 mph maximum wind speed warranty. Install six (6), 11- or 12-gauge, 1-1/2-in. ring shank nails per shingle, that have sufficient length to penetrate the roof deck by at least 3/4" (19mm) or fully penetrate sheathing where the sheathing is less than 3/4" (19mm) thick.]

- [Qualify for the manufacturer’s unlimited maximum wind speed warranty. Install six (6), minimum No. 8 raised head (non-countersunk) screws per shingle, that are at least 1 1/2” in length, and have sufficient length to penetrate the roof deck by at least 3/4" (19mm) or fully penetrate sheathing where the sheathing is less than 3/4" (19mm) thick.]

### Impact Resistance:

SPECIFIER NOTE: FM 4475 verifies performance with a modified version of FM 4473 utilizing 2-inch diameter ice balls propelled at a kinetic energy double that of a FM 4473 Class 4 impact test.

- [Provide a Very Severe Hail (VSH) rated roof system according to FM 4475 by installing as specified in the current National Evaluation Report (CR-0607).]

- [Provide a Class 4 impact rated roof system according to FM4473 or UL2218 by installing as specified in the current National Evaluation Report (CR-0607).]

### [Florida State Product Approval:

- Provide a roof system where all applicable components are compliant with the Florida Building Code (Non-HVHZ).

- Performance shall be verified by referencing the Florida State Product Approval (FL30436.2)

- Install according to the specific limitations of use and additional requirements on which the approval is reliant (CR-0607).]

### FORTIFIED HomeTM:

- [Provide a roof system assembly verified by a certified FORTIFIEDTM Evaluator to meet the latest requirements of the IBHS FORTIFIED HomeTM Standard for a FORTIFIED RoofTM Designation.]

SPECIFIER NOTE: Miami-Dade/Broward HVHZ: evaluation is currently pending.

### [Miami-Dade/Broward HVHZ:

- Provide a roof system where all applicable components are compliant for use in the Miami-Dade/Broward High Velocity Hurricane Zone (HVHZ).

- Performance shall be verified by referencing the Miami-Dade County Notice of Acceptance (NOA) (No. YY-MMDD.NN) including:

- TAS 100: Wind-driven rain test (8.8 inches per hour) with zero (0) water infiltration.

- TAS 107: Variable wind load test without disengagement or damage.

- TAS 110: Accelerated aging and physical properties tests including UV exposure (ASTM G155), salt spray (ASTM B117), and dimensional stability (ASTM D1204).

- TAS 125: Cyclic pulsed wind loading to verify uplift pressure resistance with a minimum safety factor of 2.

- Install according to the specific limitations of use and additional requirements on which the approval is reliant (CR-0607).]

SPECIFIER NOTE: Texas Department of Insurance evaluation is not currently available.

### [Texas Department of Insurance:

- Provide a roof system compliant with the Texas Department of Insurance evaluations.

- Performance shall be verified by a current TDI Evaluation ID:RC-XXXX.]

## 2.3	SYNTHETIC FIELD SHINGLES

SPECIFIER NOTE: Select one model and color. Delete all others.

SPECIFIER NOTE: Retain this option for the American Blend model. Specify color.

### [Provide REVIA® XTMTM Designer Slate: American Blends Roofing Shingles as manufactured by FWave LLC.

### Appearance: Synthetic shingles simulating the texture, color variation, and profile of slate, while maintaining the installation characteristics of a standard shingle.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 14.5” (367 +/- 3 mm).

- Thickness: Varies across profile.

- Front Edge Thickness: 29/64” (11.5 +/- 1.5 mm).

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

- Nominal Weather Exposure: 6” (152 mm).

- Weight: 4.4 lbs (2.0 +/- 0.2 kg) per shingle.

- Coverage: 60 shingles per 100 square ft. (one square).

- Weight per 100 square ft. (one square): 264 lbs (120 +/- 12 kg).

### Profile:

- Rectangular, five-tab profile.

- Underlapping Portion: Top side is predominately flat including guides for fastener placement, shingle alignment channels, and an integral protruding lip (Nail Line Lock) at the front of the underlapping portion; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side is exposed to the environment and is aesthetically textured and profiled; bottom side is predominantly flat including a second backwards facing protruding lip (Front Edge Lock).

- Engagement: The Front Edge Lock is designed to provide continuous mechanical engagement with the Nail Line Lock of the course below, preventing uplift of the front edge of the shingle in severe wind conditions.

SPECIFIER NOTE: Select one American Blends color. Delete all others.

### American Blends Color:

- [Birchwood Blend.]

- [Harvest Blend.]

- [Charcoal Blend.]]

SPECIFIER NOTE: The REVIA® XTMTM Estate Series model of shingles is currently not available.

### [Provide REVIA® XTMTM Designer Slate: Estate Series Roofing Shingles as manufactured by FWave LLC.

### Appearance: Synthetic shingles simulating the texture, color variation, and profile of slate while maintaining the installation characteristics of a standard shingle.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 14.5” (367 +/- 3 mm).

- Thickness: Varies across profile.

- Front Edge Thickness: 29/64” (11.5 +/- 1.5 mm).

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

- Nominal Weather Exposure: 6” (152 mm).

- Weight: 4 lbs (1.8 +/- 0.2 kg) per shingle.

- Coverage: 60 shingles per 100 square ft. (one square).

- Weight per 100 square ft. (one square): 240 lbs (108 +/- 12 kg).

### Profile:

- Rectangular, five-tab profile with cropped corners.

- Underlapping Portion: Top side is predominately flat including guides for fastener placement, shingle alignment channels, and an integral protruding lip (Nail Line Lock) at the front of the underlapping portion; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side is exposed to the environment and is aesthetically textured and profiled; bottom side is predominantly flat including a second backwards facing protruding lip (Front Edge Lock).

- Engagement: The Front Edge Lock is designed to provide continuous mechanical engagement with the Nail Line Lock of the course below, preventing uplift of the front edge of the shingle in severe wind conditions.

SPECIFIER NOTE: Select one color. Delete all others.

### Estate Series Color:

- [Colonial Estate.]

- [Hampton Estate.]

- [Sonoma Estate.]

- [Woodland Estate.]]

SPECIFIER NOTE: Retain this option for the Hand Split Shake model. Specify color.

### [Provide REVIA® XTMTM Hand Split Shake Roofing Shingles as manufactured by FWave LLC.

### Appearance: Synthetic shingles simulating the texture, color variation, and profile of natural shake, while maintaining the installation characteristics of a standard shingle.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 14.5” (367 +/- 3 mm).

- Thickness: Varies across profile.

- Front Edge Thickness: 29/64” (11.5 +/- 1.5 mm).

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

- Nominal Weather Exposure: 6” (152 mm).

- Weight: 4.4 lbs (2.0 +/- 0.2 kg) per shingle.

- Coverage: 60 shingles per 100 square ft. (one square).

- Weight per 100 square ft. (one square): 264 lbs (120 +/- 12 kg).

### Profile:

- Rectangular, five-tab profile.

- Underlapping Portion: Top side is predominately flat including guides for fastener placement, shingle alignment channels, and an integral protruding lip (Nail Line Lock) at the front of the underlapping portion; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side is exposed to the environment and is aesthetically textured and profiled; bottom side is predominantly flat including a second backwards facing protruding lip (Front Edge Lock).

- Engagement: The Front Edge Lock is designed to provide continuous mechanical engagement with the Nail Line Lock of the course below, preventing uplift of the front edge of the shingle in severe wind conditions.

SPECIFIER NOTE: Select one Hand Split Shake color. Delete all others.

### Hand Split Shake Color:

- [Mountain Cedar.]

- [Lakeshore Gray.]

- [Castlewood Brown.]]

SPECIFIER NOTE: Retain this option for the Classic Slate model. Specify color.

### [Provide REVIA® XTMTM Classic Slate Roofing Shingles as manufactured by FWave LLC.

### Appearance: Synthetic shingles simulating the texture, color variation, and profile of natural slate, while maintaining the installation characteristics of a standard shingle.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 14.5” (367 +/- 3 mm).

- Thickness: Varies across profile.

- Front Edge Thickness: 29/64” (11.5 +/- 1.5 mm).

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

- Nominal Weather Exposure: 6” (152 mm).

- Weight: 4.4 lbs (2.0 +/- 0.2 kg) per shingle.

- Coverage: 60 shingles per 100 square ft. (one square).

- Weight per 100 square ft. (one square): 264 lbs (120 +/- 12 kg).

### Profile:

- Rectangular, five-tab profile.

- Underlapping Portion: Top side is predominately flat including guides for fastener placement, shingle alignment channels, and an integral protruding lip (Nail Line Lock) at the front of the underlapping portion; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side is exposed to the environment and is aesthetically textured and profiled; bottom side is predominantly flat including a second backwards facing protruding lip (Front Edge Lock).

- Engagement: The Front Edge Lock is designed to provide continuous mechanical engagement with the Nail Line Lock of the course below, preventing uplift of the front edge of the shingle in severe wind conditions.

SPECIFIER NOTE: Select one Classic Slate color. Delete all others.

### Classic Slate Color:

- [Classic Slate Black.]

- [Classic Slate Gray.]

- [Classic Slate Royal.]]

## 2.4	SYNTHETIC STARTER SHINGLES

SPECIFIER NOTE: REVIA® XTMTM Starter shingles are a critical component of the REVIA® XTMTM roof system. Use of a generic starter is prohibited as they lack the mechanical Nail Line Lock required to secure the front edges on the first course of shingles.

### Provide REVIA® XTMTM Starter Shingles as manufactured by FWave LLC.

### Appearance: Synthetic shingles with a profile designed to provide the correct starting angle and physical connection to REVIA® XTMTM shingles installed at the eaves.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 8.5” (215 +/- 3 mm).

- Thickness: Varies across profile.

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

### Profile:

- Rectangular profile.

- Predominately flat including guides for fastener placement, shingle alignment channels, and protruding lip (Nail Line Lock) at the front designed to provide continuous mechanical engagement with the Nail Line Lock of the field shingle in the first row (course 1), to prevent uplift of the front edge of the shingle in severe wind conditions.

SPECIFIER NOTE: Specify REVIA® XTMTM Estate Series Starter Shingles instead of REVIA® XTMTM Starter Shingles when installing REVIA® XTMTM Estate Series field shingles. This product is currently unavailable.

### [Provide REVIA® XTMTM Estate Series Starter Shingles as manufactured by FWave LLC, for use with REVIA® XTMTM Designer Slate: Estate Series Shingles.

### Appearance: Synthetic shingles with color and profile designed to provide the correct starting angle, physical connection aesthetic match for REVIA® XTMTM Designer Slate: Estate Series Shingles installation at the eaves.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 39 3/8” (1000 +/- 3 mm).

- Width: 8.5” (215 +/- 3 mm).

- Thickness: Varies across profile.

- Nail Line Thickness: 7/16” (11 +/- 1.5 mm).

### Profile:

- Rectangular profile.

- Predominately flat including guides for fastener placement, shingle alignment channels, and protruding lip (Nail Line Lock) at the front designed to provide continuous mechanical engagement with the Nail Line Lock of the field shingle in the first row (course 1), to prevent uplift of the front edge of the shingle in severe wind conditions.]

## 2.5	SYNTHETIC HIP AND RIDGE SHINGLES

SPECIFIER NOTE: REVIA® Hip and Ridge shingles are designed to be installed with REVIA® XTM™ field shingles. Select Hip and Ridge shingles of the same color and profile as the field shingle specified. Delete all others. Use of a generic Hip and Ridge shingle is prohibited because the Hip and Ridge shingle must appear to match the profile and color of the field shingles.

SPECIFIER NOTE: Retain this option for the American Blend or Estate Series model. Specify color.

### [Provide REVIA® Designer Slate Hip and Ridge Shingles as manufactured by FWave LLC, for use with REVIA® Designer Slate: American Blends [Estate Series] Shingles.

### Appearance: Synthetic shingles with a profile designed to aesthetically match and cover REVIA® Designer Slate: American Blends Shingles installed at roof hips and ridges.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 11.85” (301 +/- 3 mm).

- Width: 11.65” (296 +/- 3 mm).

- Thickness: 9/32” (7 +/- 1.0 mm).

- Maximum thickness: 37/64” (14.6 +/- 1.5 mm).

### Profile:

- Rectangular profile.

- Underlapping Portion: Top side including guides for fastener placement; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side exposed to the environment and aesthetically textured and profiled; bottom side is predominantly flat.

- Flexible Hinge: Central portion designed to allow the shingle to be folded to conform to the profile of the hip or ridge on which it is being installed.

SPECIFIER NOTE: Select one American Blend or [Estate Series] color. Delete all others.

### American Blends Color:

- [Birchwood Blend to match field shingles.]

- [Harvest Blend to match field shingles.]

- [Charcoal Blend to match field shingles.]]

### Estate Series Color:

- [Birchwood Blend to match field shingles.]

- [Harvest Blend to match field shingles.]

- [Charcoal Blend to match field shingles.]]

SPECIFIER NOTE: Retain this option for the Hand Split Shake model. Specify color.

### [Provide REVIA® Hand Split Shake Hip and Ridge Shingles as manufactured by FWave LLC, for use with REVIA® Hand Split Shake Shingles.

### Appearance: Synthetic shingles with a profile designed to aesthetically match and cover REVIA® Hand Split Shake Shingles installed at roof hips and ridges.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 11.85” (301 +/- 3 mm).

- Width: 11.65” (296 +/- 3 mm).

- Thickness: 9/32” (7 +/- 1.0 mm).

- Maximum thickness: 37/64” (14.6 +/- 1.5 mm).

### Profile:

- Rectangular profile.

- Underlapping Portion: Top side including guides for fastener placement; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side exposed to the environment and aesthetically textured and profiled; bottom side is predominantly flat.

- Flexible Hinge: Central portion designed to allow the shingle to be folded to conform to the profile of the hip or ridge on which it is being installed.

SPECIFIER NOTE: Select one Hand Split Shake color. Delete all others.

### Color Blend:

- [Mountain Cedar to match field shingles.]

- [Lakeshore Gray to match field shingles.]

- [Castlewood Brown to match field shingles.]]

SPECIFIER NOTE: Retain this option for the Classic Slate model. Specify color.

### [Provide REVIA® Classic Slate Hip and Ridge Shingles as manufactured by FWave LLC, for use with REVIA® Classic Slate Shingles.

### Appearance: Synthetic shingles with a profile designed to aesthetically match and cover REVIA® Classic Slate Shingles installed at roof hips and ridges.

### Material: Engineered polyolefin-based polymer composite including UV inhibitors.

### Physical Dimensions:

- Length: 11.85” (301 +/- 3 mm).

- Width: 11.65” (296 +/- 3 mm).

- Thickness: 9/32” (7 +/- 1.0 mm).

- Maximum thickness: 37/64” (14.6 +/- 1.5 mm).

### Profile:

- Rectangular profile.

- Underlapping Portion: Top side including guides for fastener; bottom side faces the underlayment and includes structurally reinforcing ribs.

- Overlapping Portion: Top side exposed to the environment and aesthetically textured and profiled; bottom side is predominantly flat.

- Flexible Hinge: Central portion designed to allow the shingle to be folded to conform to the profile of the hip or ridge on which it is being installed.

SPECIFIER NOTE: Select one Classic Slate color. Delete all others.

### Color Blend:

- [Classic Slate Black to match field shingles.]

- [Classic Slate Gray to match field shingles.]

- [Classic Slate Royal to match field shingles.]]

## 2.6	ACCESSORIES

SPECIFIER NOTE: Add or delete fire rating options as required. Note Class B fire ratings and CAN/ULC S107 fire ratings are currently unavailable.

### Synthetic Underlayment:

- Provide mechanically attached polymeric roof underlayment meeting the physical requirements of ASTM D8257.

- System shall achieve the following rating according to [ASTM E108] [UL 790] [CAN/ULC S107].

- [Class A using one layer of Tiger Paw underlayment manufactured by GAF.]

- [Class A according to the specified field shingle’s current product listing (CR-0607).]

- [No fire rating required.]

- [Class B according to the specified field shingle’s current product listing (CR-0607).]

### Waterproofing Underlayment:

- Provide self-adhering polymer modified bituminous sheet materials.

- Underlayment shall be compliant to ASTM D1970.

### Fasteners:

SPECIFIER NOTE: Select fasteners type, wind warranty, and material from the bracketed options. Delete all others. The fastener used will determine the conditions of the roofing manufacturer’s wind warranty, specifically the maximum wind speed provision either 130mph, 180mph or unlimited.

- Provide corrosion resistant roofing fasteners.

- Fastener Type:

- [Nails: 11- or 12-gauge, roofing nails, minimum head diameter 3/8” (9.5 mm).]

- [Screws: Minimum No. 8 raised head (non-countersunk) screws.]

- Warranty Requirements:

- [Smooth shank nails, minimum 1 1/4" in length which qualify the roof for a manufacturer’s wind warranty for wind speeds up to 130mph.]

- [Ring shank nails, at least 1 1/2" in length which qualify the roof for a manufacturer’s wind warranty for wind speeds up to 180mph.]

- [Screws minimum 1 1/2" in length which qualify the roof for a manufacturer’s wind warranty for unlimited wind speeds.]

SPECIFIER NOTE: Select fastener material based on location and project requirements. Fasteners that are hot dip/mechanically galvanized or stainless steel are recommended for long term corrosion resistance.

- Material:

- [Hot dipped or mechanical galvanized, with coat weight 1.0 oz/sq. ft. according to ASTM A153 Class D or ASTM A641 Class 3S.]

- [Stainless steel Type 304.]

- [Stainless steel Type 316.]

- [Another material selected by architect.]

### Approved Sealants and Adhesives:

- To ensure chemical compatibility and maintain the system warranty, provide only from the following list:

- #900 Solar Seal® by NPC Sealants.

- #6600 Universal™ Terpolymer Sealant by R. M. Lucas Co.

- Quad® Sealant by OSI®.

- SEBS1 by MuleHide.

- No substitutions permitted without written approval from the roofing manufacturer.

### Flashings:

SPECIFIER NOTE: Select flashing material, thickness, color and eaves drip edge and valley options. Delete all others. A T-Type drip edge is recommended at the eaves to prevent moisture blowing up underneath the starter shingle. An open valley is preferred because of superior water drainage and long-term durability.

- Provide corrosion resistant roof flashings as specified by Section 07 60 00 - Metal Flashing and Sheet Metal.

- Minimum length for linear components is 8’ (2.5m).

- Thickness, Material:

- [Thickness, Material: Minimum 0.019” (0.5mm), galvanized steel.]

- [Thickness, Material: Minimum 24-gauge 0.024” (0.6mm), galvanized steel.]

- [Thickness, Material: Minimum 16-ounce 0.019” (0.5mm), copper.]

- Fasteners shall be galvanically compatible with the flashing material.

- Color:

- [Natural metal.]

- [Black.]

- [Color to match roofing.]

- [Select from supplier’s available finishes]

- Eave Drip Edge:

- [L-Type, extending at least 2” (51mm) back from the roof edge, bending down over the fascia at least 1 1/2” (38mm) and kicking out to direct water away from the fascia board.]

- [T-Type, extending out from the eave by 1/2" (13mm), at least 2” (51mm) back from the roof edge, bending down over the fascia at least 1 1/2” (38mm) and kicking out to direct water away from the fascia board.]

- Rake Drip Edge: T-Type drip edge with a 7/8” (22mm) upstand to conceal the cut edge of the specified shingle.

- Valley flashing: 24” (610 mm) wide “W-style” metal flashing with center diverter.

- [Open valley.]

- [Closed valley alternative: Shingles are installed tight to the diverter according to the manufacturer’s installation manual.]

- Step flashing: 10” x 8” (254mm x 203mm) folded at 90° providing coverage of 5” (127mm) up the headwall and 5” (127mm) under the roofing.

### Snow Guards:

SPECIFIER NOTE: Select snow guard model, material and finish options. Delete all others. When substituting for alternative models, take into account the logistical constraints imposed by the continuous Front Edge Lock at the front of each specified field shingle.

- Provide compatible snow guards.

- Model:

- [Alpine PD30R by Alpine Snow Guards.]

- [Alpine WR 316 by Alpine Snow Guards.]

- Material:

- [Aluminium.]

- [Copper.]

- [Galvanized Steel.]

- [Select from supplier’s available materials.]

- Finish:

- [Natural metal.]

- [Black.]

- [Color to match roofing.]

- [Select from supplier’s available finishes]

- Snow Load Requirement:

- [Less than 60 pounds per square foot (psf).]

- [60 - 90 pounds per square foot (psf).]

- [90 - 120 pounds per square foot (psf).]

### Attic Ventilation:

SPECIFIER NOTE: Select bracketed options related to this Section. Delete all others. Adequate attic ventilation is especially important when specifying synthetic underlayments which tend to have lower levels of permeability.

- Provide attic ventilation at both the upper and lower portions of the roof.

- [Ridge Vent: Low profile shingle over continuous roof vent. Minimum width 11” (279mm). Minimum 12.5 sq. in. of Net Free Area (NFA) per linear foot.]

- [Powered Ventilators: Mechanical forced flow vents.]

- [Gable Louvers: Architect specified gable end louvres.]

- Soffit Intake: Continuous or individual openings at eaves.

# PART 3 EXECUTION

## 3.1	EXAMINATION

SPECIFIER NOTE: Select one roof deck thickness and material option related to this Section. Delete all others. Thicker plywood roof decks offer superior nail pull out resistance. Where applicable, the FORTIFIED™ Evaluator must approve of the roof deck prior to Commencement of Work.

### Roof Deck: Verify roof deck meets roofing shingle manufacturer’s installation requirements prior to commencement of Work.

### Reroofing: Remove all pre-existing roofing materials and fasteners down to the structural deck.

### Condition: Verify deck is structurally sound, free from defects, deterioration, delamination or damage, dry, and free of debris, snow, ice or visible moisture. Deck shall be free of pre-existing nail holes, penetrations, or fastening defects at or near the fastening locations.

SPECIFIER NOTE: Exposure 1 sheathing is currently not available. Check the product listing (CR-0607) for updates.

### Grade:

- Bond Classification:

- Exterior grade sheathing.

- [Exposure 1 sheathing]

- Thickness and Material:

- [Minimum 15/32” (12mm) plywood.]

- [Minimum 19/32” (15mm) plywood.]

- [Minimum 23/32” (18mm) plywood.]

- [Minimum 7/16” (11mm) OSB.]

- [Minimum 19/32” (15mm) OSB.]

### Do not begin Work over an unsatisfactory roof deck. Beginning Work constitutes acceptance of the roof deck.

### [For installations seeking a FORTIFIED Home™ designation, the FORTIFIED™ Evaluator must approve the roof deck prior to the Commencement of Work.]

### Attic Ventilation: Verify attic ventilation meets minimum requirements of local building codes including a balanced intake and exhaust.

### Existing Ventilation: Verify existing attic ventilation systems and insulation meet current code requirements and are unobstructed.

### Other Penetrations and Accessories: Verify Work of other Sections has been completed correctly and is ready to receive roofing:

- Counter Flashings: Verify siding, skylights and masonry counterflashings are installed in a manner that allows the integration of synthetic roofing shingles.

- Roof Penetrations: Verify that all plumbing vents, chimneys, electrical masts, and solar mounts are securely attached and properly flashed to the deck surface according to Section 07 60 00 - Metal Flashing and Sheet Metal.

### Do not proceed with installation until all penetrations are positioned correctly. Installation of roofing around improperly installed penetrations constitutes acceptance of these conditions.

## 3.2	PREPARATION

SPECIFIER NOTE: Add or delete requirements relating to this Section.

### Surface Cleaning: Thoroughly sweep and clean surfaces to remove all dirt, dust, and debris that may interfere with the flat application of underlayment and shingles.

### Protrusions: Ensure all fasteners from previous roofing systems are removed or driven flush. Substrate must be a smooth, flat, and fastenable surface free of protrusions, ridges or voids.

### Stability: Verify roof deck is dimensionally stable, properly supported, and securely attached to framing.

### Moisture Control: Verify roof deck and other roofing materials are dry before installing shingles. Roof deck moisture content shall be below 19%.

### Do not begin Work over an unsatisfactory roof deck. Beginning Work constitutes acceptance of the roof deck.

## 3.3	GENERAL INSTALLATION

SPECIFIER NOTE: Add or delete as required. Keep the bracketed item if installing a FORTIFIED Home™ designated roof.

### Install all system components in accordance with manufacturers’ instructions, applicable evaluation reports, and local building codes.

- [Install the roofing system in strict accordance with the IBHS FORTIFIED Home™ Standard for the selected designation level.]

### In the event of a difference in requirements the most stringent criteria shall govern. In the event of a conflict between requirements, local building codes take precedence.

## 3.4	UNDERLAYMENT INSTALLATION

SPECIFIER NOTE: Select one waterproofing underlayment option based on project requirements, local climate, and building codes. Delete all others.

### Waterproofing underlayment:

- Install first, adhered flat to the roof deck.

- Roof Locations:

- [According to local building codes.]

- [At critical areas including valleys, eaves, ridges, hips, pipe penetrations, dormers, slope changes, skylights, and chimneys.]

- [In locations areas prone to snow and ice, waterproofing underlayment shall extend at least 24” (610mm) up the roof deck from the location of the interior face of exterior walls to reduce the likelihood of leaks caused by ice dams forming at uninsulated or unheated overhangs. Maintain coverage at all critical areas including valleys, eaves, ridges, hips, pipe penetrations, dormers, slope changes, skylights, and chimneys.]

- [To the entire roof deck.]

### Synthetic Underlayment:

- Install flat and unwrinkled over the entire roof deck and waterproofing underlayment.

- Lap underlayment over the drip edge at the eaves and under the rake edge drip edge.

### Flashings:

- Install metal flashings in accordance with Section 07 60 00 -Flashing and Sheet metal.

- Flashings include L-type or T-type drip edges at the eaves, T-type drip edges at the rake ends, “W-style” metal at valleys, step flashing at side walls, apron flashings at chimneys.

## 3.5	SHINGLE INSTALLATION

SPECIFIER NOTE: Select one bracketed roofing pattern option corresponding to bracketed shingle model specified. Delete all others.

### Synthetic Shingles:

- Install according to the latest version of the manufacturer’s installation instructions available at fwaveroofing.com/resources.

- Minimum roof slope 3:12.

### Starter Shingles:

- Cut 4” (100mm) from the first starter shingle.

- Apply a bead of approved adhesive to drip edge.

- Abut shingle against the T-Type rake drip edge leaving a 3/16” (5mm) gap for thermal expansion. Overhang the eaves by 3/4" (19mm) +/- 1/4" (6mm).

- Align shingle edges accurately. Complete course before starting field shingle installation. Fasten using six (6) fasteners per shingle. Locate fasteners in the designated positions marked on the shingle. Fasten into solid decking at least 1” (25mm) from the edge of the roof deck

### Field Shingles:

- Abut shingle up against the T-Type rake drip edge leaving a 3/16” (5mm) gap for thermal expansion.

- Mechanically engage front edge of first course of field shingles. Engage Front Edge Lock of field shingle into the Nail Line Lock of the starter shingle. Set the exposure within the allowable range indicated on the top of the exposure of the previous course.

- Align shingle edges accurately. Do not exceed the maximum skew set by the rack limiters.

- Complete course one (1) before starting course two (2). Fasten using six (6) fasteners per shingle. Locate fasteners in the designated positions marked on the shingle.

- Continue with subsequent courses. Engage all Front Edge Locks with the corresponding Nail Line Lock of the shingle in the previous course.

- Offset tabs by a full tab plus a partial tab offset dependent on the pattern specified. Use the alignment marks on the previous course to accurately position shingles. Use non-permanent blue chalk lines to keep courses straight. Follow the diagonal layout pattern specified.

- Specified Pattern:

- [Install REVIA® XTMTM Designer Slate: [American Blends] [Estate Series] Roofing Shingles in a pyramid pattern, with a 1.5-tab offset, with edges aligned to mark two (2) as indicated on the shingle in the previous course.]

- [Install REVIA® XTMTM [Hand Split Shake] [Classic Slate] Roofing Shingles in a pyramid pattern, with an offset of one full tab plus a partial tab offset. Align edges according to the following pattern to give a random appearance.  Course 2 mark #1, Course 3 mark #2, Course 4 mark #3, Course 5 mark #3, Course 6 mark #2, Course 7 mark #1. Repeat pattern established for courses 2 to 7. Starting with alignment mark 1. I.e. Full shingle, 1,2,3,3,2,1;1,2,3,3,2,1, etc.]

- Provide a 3/16” (5mm) gap where shingles abut vertical walls or chimneys.

### Fasteners:

- Penetrating the roof deck by at least 3/4" (19mm) or through the roof deck by 1/16” (1.6 mm) for roof decks less than 3/4” (19mm) thick.

- Drive fasteners straight and flush, without over or under driving.

- No fastener heads should be showing on the finished roof.

### Synthetic Hip and Ridge Shingles:

- Install hip and ridge shingles along hips and ridges.

- Attach using two (2) fasteners a minimum of 1 3/4" in length, installed as indicated on each shingle. Start hip and ridge shingles from the opposite direction of the prevailing winds using a field made starter.

### Approved Sealants or Adhesives:

- Ensure surfaces are clean and free of dust, old sealant, or moisture. Apply sealant in a continuous bead.

- Seal valley shingles to the metal by applying two continuous parallel 1/2" (13mm) diameter beads.

- When hand sealing a tab, apply five (5), 1” (25mm) diameter spots behind each tab.

- Where specific sealant details are not provided by the roofing manufacturer, follow the most current recommendations of the NRCA Roofing Manual.

### Snow Guards:

- Install in the quantity and patterns recommended by the manufacturer, as required.

## 3.6	LOW SLOPE INSTALLATION

SPECIFIER NOTE: Add or delete as required.

### For low slopes, defined as below 4:12, synthetic shingles are ornamental in regards to waterproofing.

### Install one layer of self-adhering waterproofing underlayment or two layers of synthetic underlayment half-lapped for the entirety of low slope surfaces.

### Installations on slopes below 3:12 are not allowed.

## 3.7	VENT INSTALLATION

SPECIFIER NOTE: Add or delete requirements as required. A 1:150 ratio encourages maximum heat dissipation from the attic. The standard minimum according to building codes is typically 1:300.

### NFVA Ratio: Minimum Net Free Ventilating Area (NFVA) of 1:150. For every 150 square feet of attic floor, supply 1 square foot of ventilation area.

### Ventilation area is balanced between the lower eave (intake) and upper ridge (exhaust) with between 50% and 60% of NFVA at the lower slope.

## 3.8	CLEANING, PROTECTION AND RECYCLING

SPECIFIER NOTE: Add or delete as required. Where practical, it is recommended to return unused shingles and offcuts to the manufacturing facility for recycling. Surface scratches on REVIA ® XTM™ Shingles may be repaired using a heat gun, without removing the affected shingles

### Maintain protective measures for all finished roofing surfaces to prevent damage from subsequent construction activities until Final Completion.

### Protect works of other trades including gutters, siding, and landscaping from damage during roofing operations.

### Prior to completion, restore the roof to an as-new condition including touch ups, repair or replacement of damaged products.

### Remove all installation debris, packaging, and waste from the project site upon completion. [Collect clean, uninstalled shingles and offcuts and return them to the manufacturer’s facility for recycling. Do not return materials other than shingles.]

### Fix any scratched shingle exposures by applying heat using manufacturer approved heat application such as a heat gun and cleaning using non-abrasive cleaning agents. Contact manufacturer for a list of approved chemical cleaners prior to application.

### Clean the roof including any visible chalk lines. Do not use high power pressure washers or harsh chemical solvents.

## 3.9	QUALITY CONTROL

SPECIFIER NOTE: Delete as required.

### Review quality of roof installation periodically, including alignment, layout and aesthetics.

### Test critical areas, including valleys and penetrations for water tightness upon completion of the roof.

### Installer shall manually verify engagement of the Front Edge Lock into the Nail Line Lock for every shingles and remedy any discrepancies prior to Project Closeout.

- [Verify that the FORTIFIED Home™ designation is active and searchable via the IBHS FORTIFIED™ property lookup database using the unique ID number provided on the site-specific certificate.]

END OF SECTION